Dawei Wireless Rectal Ultrasound

| 1. product superiority |  |
| --- | --- |
| 1. The pregnancy of cows can be clearly detected about 27 days after mating, and the ovarian status and uterine condition of cows can be clearly distinguished, which is convenient for the treatment of cows with difficult difficulties; 2. The host engine is made of high-end chips, waterproof and durable; 3. Adopt 5G transmission technology, and connect the wireless LAN WI FI to the iPad tablet display mode; 4. The display and the B super host are composed of two parts, which can effectively improve the service life of the machine; 5. The image transmission speed is fast, there is no delay sense, and the screen display is exquisite; 6. The operating system supports remote online upgrade, free update; 7. This machine fusion color Doppler ultrasound technology, can be used to observe the ovarian blood flow state; 8. Support the preset selection of different animals; 9. Large memory capacity, standard 64G memory, can be selected 256G, easy to save pictures; 10. This machine can save the dynamic video of the tested animals to facilitate the later inspection and comparison; 11. Support real-time editing of the cow serial number, which can note the uterine ovary status of the cow test, so as to accurately grasp the situation of the cow; 12. Pictures or videos can be uploaded through network software such as wechat / QQ to facilitate statistical management; |  |

| 2. technical parameter |  |
| --- | --- |
| display mode: | The iPad tablets, phones, laptops, tablets; |
| attended mode | Wireless connection, 5GWiFi frequency band; |
| Probe type: | Array probe, convex array probe; |
| Imaging mode: | S-Series: Support: B (no use) N series: support: B, Color, pseudo-color mode; |
| Video storage: | Dynamic for 15 seconds / unit; |
| Key operation: | touch control; |
| Charging method: | Wireless charging / Type-c data cable for charging; |
| Battery life: | S series: about 3.5 hours; (no use) N series: about 6 hours; |
| classification of waterproof: | IPX 7; |

| Measurement module: | Length, area / circumference, trajectory, etc.; |
| --- | --- |
| image processing: | Image enhancement, harmonic imaging, focus imaging, etc.; |
| Host size: | S-Series: approximately 135mm (L) x69mm (w) x24mm (H) N-series: approx. 168mm (L) x72mm (w) x33mm (H) |
| weight: | S series: about 145g (excluding probe) (no use) N series: about 190g (without probe) |
| 3. Standard / optional configuration |  |
| 1 | One iPad, one platform (no use) |
| 2 | An ultrasound host |
| 3 | 1 professional protective box |
| 4 | One for the iPad platform charger (no use) |
| 5 | Ultrasonic main engine charger for one |

4. field operations